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Paseo-Aspiration
	Particulars
	Discussion
	Remarks

	Presentation by KAPL
	2 options presented by KAPL for the Aspiration bldg proposed in Paseo cluster of Sector 3.
	

	
	Option 1- Cruciform structure.
	

	
	Option 2- Structure holding the corner.
	

	
	
	

	Form
	The cruciform structure although explores maximum views, there will be some privacy issues at the junction of the two apartments.
	

	Form
	The option 2 since it holds the corner at the entrance of the city was a preferred option although the geometry of the third side has to be better designed to complete the triangular form.
	

	Issues
	In the option 2, the junction at which the both the blocks come together, has to have a gap preferably which is wider (say 2 m or so) since there will be finishing issues at a later date in case the gap left is 200/300mm. 
Instead the last corner rooms to be overlapped in such a way that the overall core size reduces thus getting a more efficient core.
	

	Input
	There will be no ground floor apartments. Mostly it will be a parking area with a banquet hall or some basic amenity. 
	

	Input
	The structure to have not more than one or two podiums for parking. The complete parking for this bldg to be accommodated within the cluster itself.
	

	Issues
	Ideally the open corridor to be avoided since it becomes a maintenance issue & also rain water enters in during monsoons.
	

	Input 
	The maximum height to be 70m. Hence it will be G+22 (approx) & two lifts to be provided out of which one will be a stretcher lift.
	

	Input
	Landscaping to be properly segregated for the existing Casa Bldgs & the Aspi bldg.
	



