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	S.no.
	Discussion
	Action By
	Date
	Remarks

	1.
	
Building Connections.(Casa Primia & Casa Cielo)
	KAPL/SJSCE
	09-12-2014
	SBC has given the details.

	2.
	Casa Paseo ground floor options for A1+A1.(HFM+BOH)

	MEP Lodha/ KAPL
	MEP-04-12-2014
KAPL- 09-12-2014
	a. MEP to review the services routing & confirm if the service bay is required & if yes then the minimum width for the same to be determined.
b. Accordingly KAPL to work out the option for the HFM+BOH option for A1+A1

	3.
	Sector 3 site plan (ground floors) with updated Viento,Vista & Cielo clusters.
	KAPL
	4-12-2014
	Dwgs to be received by 4-12-2014

	4. 
	Casa Viento wing C & D centreline dwg.
	KAPL
	3-12-2014
	Dwgs to be received by 3-12-2014

	5.
	Door details
	KAPL
	5-12-2014
	Dwgs to be received by 5-12-2014

	6.
	Substitute to Origami
a. KAPL Short listed 210 (Borkum) from Reckli's online catalogue. 
b. Lodha Design to contact NOE & Reckli.
c. Costing for the A1 typology (6 to a core) worked out to be Rs 7 per sqft on the Saleable area (app) & Costing for the A2 typology (4 to a core) worked out to be Rs 5 per sqft on the Saleable area (app).
	KAPL/Lodha Design
	KAPL to check the NOE link & review the designs to select.
Lodha Design to take quotes for both.
	Lodha Design has contacted Reckli . NOE has also been contacted & its online catalogue link is www.noeplast.com 
 

	7.
	Site to be instructed to leave the dowels for the utility & the chowk beams. (from sides as well)
	SBC
	2-12-2014
	

	8.
	The block work suggested by KAPL  at the entrance area of A1 & A2 conventional bldgs 
	SBC/Lodha Struc.
	5-12-2014
	A PCC grade slab to be designed to take the load in absence of the plinth beams.



