STATUS & RESPONSIBILITY MATRIX for the MOM dated 23-05-2013
	SR.NO
	ACTION
	STATUS
	RESPONSIBILITY
	COMMENTS/ SEQUENTIAL RESPONSIBILITIES

	1
	East west road through Gauchar to be made as per TCE’s recommendation. Will cut through the current area reserved for the university
	PENDING
	PBB
	PBB to incorporate in master plan

	2
	TCE’s recommendation on road through EWS block connecting to the DP road on the east to be incorporated in master-plan
	PENDING
	PBB
	PBB to incorporate in master plan

	3
	Traffic circulation in the roads around MLCP
	ONGOING
	TCE
	Will be provided in Infrastructure Assessment Report (IAR) next week  by TCE

	4
	Circulation within MLCP
	PENDING
	TCE
	TCE to take up later

	5
	Detailed study of each road section to suggest median openings and type of median openings
	ONGOING
	TCE
	Will be provided in IAR next week for Zone 1 by TCE

	6
	Recommendations on location of traffic signals for each road section
	ONGOING
	TCE
	Will be provided in IAR next week for Zone 1 by TCE

	7
	Analysis of road width for each part of the recommended bus corridor. Would the 5.5 m width on the southern part of bus corridor suffice?
	ONGOING
	TCE
	Will be provided in IAR next week by TCE

	8
	STP 1, 2 can be accommodated within the MLCP’s indicated. 

	PENDING
	TCE
KAPL
	1. TCE  to provide with the space requirements
2. KAPL to incorporate in MLCP plans


	9
	STP 3 to be broken into multiple STPs to fit it in the MLCPs available. Additional open areas to be considered in STP 3 zone. Capacity per STP and probable locations as input to master-plan is to be known.
STP 4 T  to be located in EWS zone

	ONGOING
	TCE
PBB
	1. TCE will be providing STP capacity & will recommend probable locations of STP 3 & 4 in IAR.
2. PBB to finalize the STP locations & incorporate it in the Master Plan.
3. KAPL to incorporate any STP 3 within the MLCP.

	SR.NO
	ACTION
	STATUS
	RESPONSIBILITY
	COMMENTS/ SEQUENTIAL RESPONSIBILITIES

	10
	Around 1500 sqm space to be reserved close to MIDC potable water sump to provide space for the WTP. 
	PENDING
	TCE
PBB
	1. TCE to confirm the 150sqm space.
2. PBB to incorporate it in the master plan as prescribed.

	11
	Water storage locations will be filled with TSE water in the dry season after the rain water stored is exhausted. Maintenance activities to be analyzed for similar static water bodies to avoid algae formation etc.
	PENDING
	TCE

	

	12
	 MLCPs to be marked for each switching station. For each switching station exact area and height clearance required to be shared
	ONGOING
	TCE
KAPL
	1. TCE has shared the details with KAPL.
2. KAPL to incorporate in MLCP plans. 

	13
	Width, location and design parameters for utility corridor till the switching station and till the substations to be worked out
	ONGOING
	TCE
LODHA
	1. TCE to provide with the details.
2. LODHA  to take a call on the location



