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	SITE QUALITY NON -ADHERENCE NOTICE

	DATE : 17/11/2014

	QNA- PR< LSG-Casa Elite E>- 01

	To
	Mr. Uttam Pawar

	Project
	Lakeshore Greens (Sector 3)

	Wing
	Elite (3.07A) – E wing

	Site Inspection Date
	11/11/2014

	
	

	Description
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	Column C6 between the kitchen & the living room. The concreting has not been correctly achieved.

	Rectification required
	Rectification measures to be taken post discussion with Structural consultant & Lodha Structure team.
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	Honey combing has been observed at many areas.

	Rectification required
	Rectification measures to be taken post discussion with Structural consultant & Lodha Structure team.
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	The form work of 200 x 400 cut out in the utility has not yet been de shuttered or has been unknowingly left.

	Rectification required
	The formwork to be removed & the opening size to be maintained as per the dwgs. 
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	Due to undulations in the slab there is a gap between the vertical formwork & the slab. 1. There are substantial chances of slurry leakages at such junctions leading to water seepage pockets in the building. 2. Also there will be plumb & alignment issues.

	Rectification required
	Rectification measures to be taken post discussion with Structural consultant & Lodha Structure team.






Issued by :
 ______________  < Signature>                                                                     
 Supriya Ambavane  <  Project  Architect>                                                    
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