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	SITE REPORT

	DATE : 05/01/2015

	QNA- PR< LSG-Casa Elite O>- 01

	To
	Mr. Ajay Saindansing

	Project
	Lakeshore Greens (Sector 3)

	Wing
	Elite (3.09A) – O wing (MODIFIED MIVAN)

	Site Inspection Date
	29/12/2014

	
	

	Description

1. Peripheral shuttering not fixed.
2. Master Bedroom & toilet area of unit 1 & 2 were already cast with modified mivan.
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	1. The ground floor toilet windows of unit 1 & 2 were cast as per typical floor windows.
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Switch boards on the non structural walls were not placed in the wall. 
Instead some light points were seen (at different heights) which are not as per dwg.
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	[image: ]Beam reinforcement is not placed properly in to the column.
	

	M.S inerts for the railing not seen.
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	[image: ]Sleeves yet to be fixed in place
	

	Lots of gaps seen in the modified mivan formwork which will lead to quality issues.
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	Congestion of conduits in the slab & beam near DB location, will lead to Structural as well as serious quality issues.
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	Levelling work in progress.
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	Soldier fixing of the Mivan plates at the lift well still pending.
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	Balance points:

1. ±5mm error found everywhere.
2. Dowels to be left in the utility & the external chowk areas as conveyed to Mr.Venkatesh Kandikatti.
3. All the ducts were in progress.
4. 200 x 200 cut outs in the chajjas below the terraces were missing.
5. Fenestration dwg to be referred for all the wings for ground floor openings.
6. Canopy was not yet cast.




Issued by :
 ______________  < Signature>              
                                                      
 Supriya Ambavane  <  Project  Architect>                                                  
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