	SITE  INSTRUCTION

	
	




	
Project :......Sector 3 
...........................


Issued to Engineer. : ....Venkatesh Kandikatti

	
SI No. :......001..............


Date:.6-2-17.....

	

	1.  Initiated Due to  :       

· Design Change - 
· Site requirement
· Other Specify  - Management call
· Variation, if applicable


	
2.  Description of  Site Instruction :
  
In accordance with specifications & drawings , We/I hereby issue the following Site Instructions :
The Switch & switch panels to be replaced by Arteor Series, Legrand make (Colour –Neutral White) for the following wings  
Lagoona C, D & E (All room switches & panels to be upgraded to Arteor Series, Legrand)
Cielo A & F (All room switches & panels to be upgraded to Arteor Series, Legrand)

Regalia F (Selected rooms with switches & panels to be upgraded to Arteor Series, Legrand as per attached dwg)
Primia F & G (Selected rooms with switches & panels to be upgraded to Arteor Series, Legrand as per attached dwg)



	3.  [bookmark: _GoBack]Document Reference:  
Mail marked to Mr. Venkatesh Kandikatti on 2nd Feb 2017
Subjetct:  Palava II Sector 3 - Switch & Socket details





Note: If any variation, due to this site instruction requires                         .........................................................
         HOC approval.      
                                                                             
        (As Applicable)    HOC     Date



		.......................................................
			
 MEP Design    Date


I/We acknowledge receipt of this Site Instruction as detailed above.......................................................
and return the duplicate copy of this Order				
CM Team         Date



	



	Distribution :
	


	Architect

	
	

	Procurement/Estimation

	
	

	CM Team
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