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SITE INSTRUCTION

MEP DESIGN

Date:.6-2-17.....

Issued to Engineer. : ....Venkatesh Kandikatti

1. Initiated Due to :

Design Change -
Site requirement
Other Specify - Management cali

Variation, if applicable

2. Description of Site Instruction :

In accordance with specifications & drawings , We/l hereby issue the following Site Instructions :

The Switch & switch panels to be replaced by Arteor Series, Legrand make (Colour —Neutral
White) for the following wings

Lagoona C, D & E (All room switches & panels to be upgraded to Arteor Series, Legrand)

Cielo A & F (All room switches & panels to be upgraded to Arteor Series, Legrand)
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WEP DESIGN

Ti b =vani - i b0 : AR
MW to Mr. Venkatesh Kandikatti on 2" Feb 2017
Subjetct: Palava Il Sector 3 - Switch & Socket details

(As Applicable) HOC Date

MEP Design Date

1/We acknowledge receipt of this Site Instruction as detailed above..................o.cviiiiiniiniciienies

and return the duplicate copy of this Order

CM Team Date
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