D. R. LINKS

27, TAMBA KANTA, PAYDHUNI, MUMBAI 400 003

TEL.:- 22060556 MOBILE 9821015244

GSTIN NO 27AVQPS7709F1ZY

To,
                                                                                               

Date: 4 AUG 21 21
COW TOWN INFOTECH SERVICE LTD
ATTN MR KRISHNA,
ATTN MRS GAURI,
ATTN MRS KIRTI,
REVISED QUOTATION FOR PALAVA PREMIER SALES GALLARY LED LIGHTS 
	SR
	DESCRIPTION
	QUAN
	IMAGE
	RATE 
	REVISED
	HSN 
	GST

	1A
	ALUMINIUM DAI CAST LED BOLLARD LIGHT 8 WATT 3000K BUILT IN DRIVER SIZE 600 MM 

ZOTUN 205 REF PO NO 3000002354
	1 PCS
	[image: image1.jpg]



	7800.00
	5940.00
	9405
	12%

	1B
	ALUMINIUM DAI CAST LED BOLLARD LIGHT 10 WATT 3000K BUILT IN DRIVER SIZE 500 MM 
ZOTUN  206 
	1 PCS
	[image: image2.jpg]



	7500.00
	5325.00
	9405
	12%

	2
	TREE UPLIGHTER WITH HOOD BLACK WITH EARTH SPIKE, 9WATT LED WARM WHITE BUILT IN DRIVER WITH PVC JUCTION BOX WITH WATHER PROOF CABLE GLAND 3 NOSDRL R 945 
REF PO NO 3000031699
	1 PCS
	
[image: image3]
	2340.00
	2100.00
	9405
	12 %

	3
	OUTDOOR ALUMINIUM DAI CAST ONE WAY DOWN LIGHT WITH LED 8 WATT WARM WHITE BUILT IN DRIVER IP 55 GRAFHIT GRAY  SIZE 150 X 90 X 130 MM DRL R 030 REF PO NO 4400104591
	1 PCS
	\

[image: image4]
	4950.00
	4455.00
	9405
	12 %

	4
	SQUARE OUTDOOR ALUMINIUM DAI CAST ONE WAY DOWN LIGHT WITH LED 8 WATT WARM WHITE BUILT IN DRIVER IP 55 GRAFHIT GRAY  SIZE 150 X 90 X 130 MM DRL R 030 
	1 PCS
	[image: image5.png]CH 3475-6W

N




	4950.00
	4455.00
	9405
	12%

	5
	GRAFHIT GRAY SURFACE MOUNTED CANOPY LED LIGHT WITH 24 WATT WARM WHITE LED BUILT IN DRIVER SIZE 145 X 200 DORO 3703 – 24W 
REF PO NO 3000033182

	1 PCS
	
[image: image6]
	7500.00
	5940.00
	9405
	12%

	6
	FLOOR MOUNTING LED LIGHT  9 WATT 3000K WARM WHITE IP 65 WITH DRIVER DORO 443 
REF PO NO  3000031417

	1 PCS
	
[image: image7]
	6210.00
	5580.00
	9405
	12%

	7
	POST TOP LIGHT 40 WATT WARM WHITE BUILT IN DRIVER 450 X 420 MM  LUMEN 3600 WITH 114MM  X 4.5 MTR POLE WITH BASE DORO 46-40W 

REF PO NO 3000031316
	1 PCS
	[image: image8.jpg]



	39000.00
	33660.00
	9405
	18%

	8
	SURFACE SLEEK DOWN LIGHT FULL GLOW 15W LED 3000K AND DRIVER  

SIZE 145 X 25 MM DORO 541 – SURFACE 
REF PO NO - 3000011299
	1 PCS
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	1464.00
	1341.00
	9405
	12%


For D.R. LINKS
Authorized Signatory
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